## Sheet1
# | Questions: | Response From: | Response:
From Dean Stratouly:
1.1 | Are you now agreeing to maintaining the height and roof line of the original structure? No alterations to the roof line? | CBT/Owner | Yes, confirmed
1.2 | Are you agreeing to have all mechanical systems for the new structure held within your building envelope and not on the roof? | CBT/Owner | Mechanical Equipment will be located along the east side of the deck on level 3.
1.3 | If you are, in fact, confirming that you are returning to your project to the simple concept of rebuilding the structure to the original home’s massing and dimensions, could you please reconfirm your project’s revised FAR calculations? | CBT | 1.87 FAR
1.4 | My understanding is that the rear wall is not a party wall. Further, the wall requires a two hour fire rating by code. Who has title to the wall? How are you maintaining a 2 hour fire separation in the rear wall? | CBT/Greenberg Traurig | The above grade rear wall at 7 Beaver Place is a not a party wall. It is a portion of the 7 Beaver Place property. Total cumulative fire rating to be 2-hr as approved by ISD.
1.5 | It appears that your new foundation and top of slab is lower than that of the original building. How are you ensuring that there is no undermining of the surrounding structures during construction? | Payne Bouchier | Based on the test pit explorations performed at the site, excavation associated with the construction of the basement level does not extend below the bottom of the existing granite block foundation walls, and therefore underpinning is not required.
1.6 | Do you anticipate having to do any dewatering during construction? If so, how is that being managed? | Payne Bouchier | 7 Beaver Place MWRA Site Dewatering Permit was secured in 2018 (#45406534), however it is now expired. A new discharge permit will be secured prior to recommencing construction. Groundwater level at the site is anticipated to be at about El. +4. Excavation associated with the construction of the basement level is anticipated to extend to about Elevation +4.1. During times when the groundwater level is above the required depth of excavation to construct the basement slab temporary construction dewatering will be performed. Therefore, temporary construction dewatering is anticipated to be required on a periodic/intermittent bases during construction of the basement floor slab. Temporary construction dewatering will be performed under an MWRA Permit for temporary construction dewatering that will be obtained for this project. Temporary construction dewatering will also be coordinated with the Boston Ground Water Trust (BGwT) as indicated in the "No Harm Letter" dated Sept. 10, 2020 for this project and submitted (via email) to the BGwT on Sept. 11, 2020.
1.7 | I am still concerned with the proposed injection point of your GCOD system. Does having a surface injection point, outboard of your structure and above the foundation line (at grade), affect the hydrology on Beaver St? Would/could this cause water infiltration into the existing structures adjacent to the discharge point? | Boston Coastal Consulting | Boston Coastal Consulting (GCOD): The proposed stormwater infiltration system has been designed to minimize the impact to the existing hydrology within Beaver Street. The proposed system has been designed with a mechanical valve and float assembly which will allow us to control the volume and flow of stormwater into our proposed stormwater infiltration system. Prior to construction, additional topographic survey of the abutters basement floor elevations will be measured and the maximum elevation of stormwater within the tanks will be set to be 1.0 feet below the lowest abutters finished floor elevation to insure there will be no impact to the neighbors properties. McPhail (Geotechnical Engineer): The design bottom of the proposed (new) basement slab is located slightly above the observed groundwater level at the site. The previous floor slab construction consisted of a concrete slab and grade beam system that extended to a depth of up to 2.5 feet below the surface of the previous basement floor slab, corresponding to about Elevation +4. The design of the proposed (new) floor slab does not extend below the bottom of the previous floor slab. Therefore, based on the above, impacts to groundwater from the proposed (new) floor slab are anticipated to be similar to the previous floor slab that existed at the site.
1.8 | When the prior structure was razed, your client constructed an extension of the party wall that runs between 7 and 11 Beaver Pl and perpendicular to my rear wall. Could you provide me with either the permit drawings or the construction design and causation of the extension? | CBT/Greenberg Traurig | Permit #SF559704, No Firewall existed between 7 & 11 Beaver Pl. Mr. Trust installed a firewall on 7 Beaver Place along the boundary of 7 Beaver Place and 11 Beaver Place. The wall is not a party wall. Ms. Scott was responsible to install a firewall on 11 Beaver Place along the same boundary. Wall section used for firewall can be shared.
From Tracy Bradley/Park Street School:
2.1 | We question compliance with Article 32-6(b) in that it appears that the proposed rainwater recharge system and thickened replacement basement slab will have a negative impact on the adjacent Park Street School. The pair of proposed porous-walled dry wells will have a top elevation of BCB 12.5’ and a bottom elevation of BCB 6.5’, which is higher than the adjacent school’s basement with its elevation of BCB 5’. Also, the overflow of the dry wells will discharge directly onto the sidewalk at grade ~ BCB 15’. Furthermore, groundwater will be displaced by the 34” thick waterproofed mat slab in the new basement with its finished floor elevation at BCB 8’. Please review these impacts in light of concerns about potential water infiltration into adjoining properties. | Boston Coastal Consulting | As discussed above, the height of the stormwater within our proposed stormwater infiltration system will be controlled by the elevation of our mechanical valve and float assembly. Our current modeling and stormwater calculations have set our maximum elevation of stormwater in the tanks to an elevation of 7.5' BCB which will provide the required Article 32 stormwater storage requirement of 1" of rainfall per square foot of roof surface area. Based on the controlled maximum elevation of our stormwater recharge system and the distance from the proposed infiltration system to the Park Street School property, the stormwater infiltration system will not negatively impact the school. We will defer to McPhail Associates to discuss the design of the 34" mat slab an its impact to groundwater (Refer to 1.7 McPhail response) .
2.2 | ISD issued a building code violation of 2015 IBC Table 705.8 for having openings in the rear wall within 3’ of the property line. The rear wall in question has two openings that were installed in 1994 without the benefit of a building code variance. Also, the existing wall encroaches on the school’s property, so the openings are actually over the property line. No openings, even when fire protected, are allowed per current code. Since the rest of the building has been demolished, with the exception of this remnant wall, the code for new construction applies and the presence of these two openings is not applicable as a pre-existing condition. Given the importance of fire safety that has been addressed by upgrading the party wall between adjacent single-family residences at 7 and 11 Beaver Place, why is that same attention and concern for code compliance not being taken for the code-required fire separation between the elementary school and the residence? | CBT | Exist rear wall to remain as-is, refer to IBC requirements for openings in firewalls that do not separate 2 or more occupied spaces
2.3 | The gross square footage (GSF) of a building as defined for zoning must be measured to the exterior surface of walls. This building, according to surveys, encroaches over the front and rear lot lines by 3 SF and 14 SF respectively. The lot area per the assessor is 819 SF, whereas the lot area per the survey is 821 SF. If the actual lot size and the building encroachments are accounted for, then the GSF of the basement, first and second floors should each be 838 GSF. FAR questions: | CBT | FAR is based on a stamped and certified land surveyor's calculations (821sf). Assuming encroachment of the walls (17 sf per floor) should be counted, FAR would be 1.91
2.3.a | Why are each of the three full floor levels shown as being less than the lot size in the zoning calculations (710.85, 806.25, 806.25)? | CBT | Existing site retaining walls were excluded in the basement level, levels 2 & 3 were measured to the exterior plane of glazing and not to the lot lines as approved by ISD.
2.3.b | Why is the entire basement taken as a deduction when only the garage and mechanical spaces can be excluded? | CBT | Refer to Zoning, basement space is "devoted to uses accessory to the operation of the structure" and confirmed by ISD
2.3.c | Why is the laundry area deducted from GSF when that is not allowed in zoning district H-2-65? | CBT | As per ISD, Laundry may be excluded when located in a Basement
2.3.d | Why is the dumbwaiter excluded at all levels since that is not listed as an allowed deduction in the zoning description? | CBT | As per ISD, the dumbwaiter space is an accessory to the main building use and considered Mech equipment
2.3.e | Where are the mechanical and plumbing chase spaces located and how do those qualify as deductions if they are piping inside of walls? | CBT/NV5 | Refer to P & H series drawings. As approved by ISD, vertical Mech and Plumb chases are considered deductions
2.3.f | What mechanical equipment will be located in the first floor utility room? | NV5 | Energy Recovery Ventilator (ERV), Refer to H drawings
2.3.g | What impact will the third floor roof change have on the FAR relative to its classification as a half story per zoning (deduct partial area of living space only where ceiling height is less than 4’)? | CBT | There will be approximately 90sf less living space (.11 FAR)
2.3.h | When the permit set dated 2/15/2018 was filed at ISD, an “FAR Excessive" violation was issued. The plans indicated that the FAR was 1.98 and the permit application number was ALT802843. Why was that permit application abandoned? The current plans retain the 1.98 FAR information under permit application ALT937727. Did the ISD Plan Reviewer elaborate on the previously stated FAR violation? | Payne Bouchier/ Greenberg Traurig | The following paragraphs 5-10 are from a Sworn Declaration of Stephen Payne regarding the 7 Beaver Place project and describes interactions with ISD: “5 On February 15, 2018, in advance of submitting a renovation permit application, Stephen Laput, of CBT architects, and I met with Kim Thai, Assistant Commissioner, Plans and Zoning, and Director of Policy of the City of Boston Inspectional Services Department (“ISD”). 6. At this meeting Ms. Thai agreed with our assessment that the renovation project, as explained to her, complied with the Boston Zoning Code and that the only required relief was a Condition Use Permit under Article 32 of the Boston Zoning Code with respect to the Groundwater Conservation Overlay District (“GCOD”). Mr. Laput and I were careful to articulate to Ms. Thai that the floor area ratio of the proposed project was under 2.0 and complied with the requirement of the Boston Zoning Code. 7. On or about February 16, 2018, an application was filed with ISD to alter the Property and received application number ALT 802843. 8. On April 30, 2018 ISD Plans Examiner, Luis Santana, issued to Payne/Bouchier, Inc. a Zoning Code Refusal which listed two violations of the Boston Zoning Code as the reasons for denying the application. The first violation was the anticipated need to obtain a GCOD conditional use permit. The second violation noted that the floor area ratio of the project was excessive. 9. On May 8, 2018 I met with Sean Lydon, ISD Assistant Commissioner, Building Division, and Mr. Santana to discuss the excessive floor area ratio violation. I presented the floor area ratio calculations prepared by CBT architects which demonstrated that the floor area ratio of the project was less than the permitted 2.0. 10. Mr. Santana then stopped the conversation to say that he had recently received information from an unnamed source which led him to believe that the proposed project was not a renovation but was in fact a new construction.” At that point, ISD no longer took the position that the reconstruction of 7 Beaver Place required a variance due to FAR. In fact, on July 12, 2019, ISD issued a Zoning Code Refusal letter in response to application ALT 937727, which stated that the only zoning code violation involved in the reconstruction of 7 Beaver Place was GCOD applicability.
2.4 | The Certificate of Appropriateness for reconstruction of the front facade was issued for this project in 2014. At that time, no HVAC units were indicated in the drawings and, as of yet, no permit has been issued for facade construction. Please explain the Contractor’s statement that the two-year expiration date for the Certificate of Appropriateness does not apply to this project and that an updated application and public hearing is not required? | Payne Bouchier/ Greenberg Traurig | Historic Beacon Hill District Architectural Guidelines provide that “A Certificate of Appropriateness is valid for two years. If work has not commenced after two years, a new application must be filed.” The Beacon Hill Architectural Commission issued a Certificate of Appropriateness on October 23, 2014. Work on the project commenced within two years after the Certificate of Appropriateness was issued and the work has been diligently prosecuted. Work between 2014 and 2016 included separating 7 Beaver Place from 11 Beaver Place, constructing a firewall and below grade improvements and removing the front façade, floors and the roof. Since 2018, work has not been allowed to proceed due to varying determinations from ISD as to what zoning relief is required. The applicant will inform the Beacon Hill Architectural Commission of any changes to the project and, of course, will comply with all legal requirements of the Beacon Hill Architectural Commission with respect to the completion of the project.
From Maribeth Brostowski:
3.1 | As you know we are concerned about water displacement, dewatering during construction and how the water that overflows is managed. Bottom line we don’t want to get flooded because of the new infrastructure planned for no. 7. “ | Boston Coastal Consulting | Refer to 1.7 & 2.1
From Peggy Scott:
4.1 | Peggy Scott has similar concerns about groundwater and flooding issues. | Boston Coastal Consulting | Refer to 1.7 & 2.1